AbsolutAire, Inc. * Kalamazoo, MI  49004

Ph.: (800) 804-4000 * Fax: (269) 382-5291

Advanced Specs for MUA w/Cooling - Request for Quote

Today’s Date:  					Quote / Information Required Date:

From:

1)  Project Name:

2)  Project Location:  										 (city & state)

3)  Btu/Hr Cooling Requirements (select A, B, or C and also fill out the temperature or tonnage required):

□ A) Approximate discharge temperature during cooling mode (55°F, 70°F, etc):  		 °F

□ B) Approximate “temperature drop” expected:  		 °F

□ C) Cooling tonnage requirement:  	 tons (note:  1-ton = 12,000 Btu/Hr)

NOTES:

4)  Select the Type of Cooling System Desired (A or B) and the Fill-In the Other Related Information also:

□ A)  Direct Expansion (DX) Cooling Coil (works in conjunction with a condensing unit)

If a “DX” Cooling Coil – who would supply the condensing unit?  There are (3) different choices (listed in order of lowest to highest cost) – please make a selection (1, 2, or 3):

□ 1)  The (xx-tons) condensing unit, TX valve(s), all cooling-related piping / line sets, R410a refrigerant,

cooling specialties, temperature controls for the cooling system, installation, wiring, startup services, etc.is ALL PROVIDED BY OTHERS.

□ 2)  AbsolutAire shall provide the (xx-tons) condensing unit and TX valve(s) – as “shipped loose” PARTS

ONLY – all other cooling related items (ie:  piping / line sets, R410a refrigerant, cooling specialties, temperature controls for the cooling system, installation, wiring, startup services, etc. is ALL PROVIDED BY OTHERS.

□ 3)  AbsolutAire shall provide a “packaged system” – with the (xx-tons) condensing unit mounted on a

common structural base/frame with the MUA, cooling coil section, etc….and all of the cooling-related items would be taken care of and provided by AbsolutAire (at the factory).  The unit would ship out of factory all pre-piped, refrigerant charged, tested, and ready to go (with normal installation requirements and utilities provided BY OTHERS at the jobsite).

□ B)  Chilled Water (CW) Cooling Coil (works in conjunction with a chilled water system, BY OTHERS)

If a “CW” Cooling Coil is required – please advise on the following required items:

Fluid Type:	□ Water Only

□ Ethylene with ________ % Glycol Solution

□ Propylene with ________ % Glycol Solution

Entering Fluid Temp (EFT):  ________°F (a “typical” EFT used is 45.0°F, but it certainly is defined by what their system provides).

Leaving Fluid Temp (LFT):  ________°F (a “typical” LFT used is 55.0°F, but it certainly is defined by what their system provides).

s:\sales\cooling_rfq.doc	rev. 09-21-20