AbsolutAire, Inc. – EL, HW, or ST Heating Coil - Request for Quote

Today’s Date:  					Quote / Information Required Date:

From:

1)  Project Name:  					2)  Location:  				(city & state)

3)  CFM:  						4)  External (duct) Static Pressure:  		”WC

5a)  Electric (EL) Heating Coil Info Required:

- Temperature Rise:	_______ °F	- or -	_______ KW	(KW = CFM × Temp. Rise × 1.085 ÷ 3,413)

- Control Type:	□ 1-Stage	□ 2-Stage	□ SCR	□ Other (specify):

5b)  Hot Water (HW) Heating Coil Info Required:

- Temperature Rise:	_______ °F	- or -	_______ MBH	(MBH = CFM × Temp. Rise × 1.08 ÷ 1,000)

- Fluid Information:	□ Hot Water	□ _____% Ethylene/Glycol		□ _____% Propylene/Glycol

_______°F Entering Fluid Temp.	_______°F Leaving Fluid Temp. -or-  _______ GPM

5c)  Steam (ST) Heating Coil Info Required:

- Temperature Rise:	_______ °F	- or -	_______ MBH	(MBH = CFM × Temp. Rise × 1.08 ÷ 1,000)

- Steam Pressure:	_______ PSI

6)  Series Desired:	□ V		□ AA		□ R300			□ R400

□ FB (FC DWDI fan)		□ FB (BIAF SWSI fan)	□ Other (specify):

7)  Unit Location:	□ Indoor		□ Outdoor 		8)  Unit Type:	□ Horizontal	□ Upright/Vertical

9)  Air Control:		□ (O) 100% OA				□ (F) Fixed OA/RA w/OA Damper (no RA damper)

□ (B) 2-Positon OA/RA w/Dampers via:	□ 2-Pos. Switch		□ Signal by Others

□ (M) Modulating OA/RA w/Dampers via:	□ Manual Pot		□ Building Pressure SW

□ Mixed Air Temp	Control	□ Signal by Others

□ (V) 100% OA Variable Volume via:	□ VFD with High/Low Volume Switch @ Remote

□ VFD with Building Pressure Control (via transmitter)

□ VFD with Manual Potentiometer @ Remote

□ VFD with { 0-10 Vdc } or { 4-20 mA } Signal by Others

□ ____________________________ (other - specify)

10)  Disch. Direction:	□ End		□ Down		□ Up/Vertical	□ Controls Side	□ Opposite Side

11)  Controls Side:	□ Left (std)	□ Right (opp)

12)  Temp. Control:	□ Discharge	□ Space		□ Other (specify):

13)  Voltage:		□ 115-1-60	□ 208-1-60	□ 230-1-60	□ 208-3-60	□ 230-3-60

□ 460-3-60	□ 575-3-60	□ Other (specify):

14)  Motor Type:		□ ODP		□ TEFC		3-Ph Only:	□ Domestic	□ Import

15)  Mech. Options:	□ Mot. Inlet Damper		□ Mot. Disch. Damper	□ Roof Curb	□ 3-Way Disch. Head

□ Side Access Filters	□ Filtered Inlet Hood 	□ Inlet Hood	□ 4-Way Disch. Head

□ EVN (non-recirc) Evap.	□ EVR (recirc w/sump & pump) Evap. with:

□ CELdek		□ GLASdek	Media Size:	□ 6”  □ 12”  □ 18”	□ F&D Valves/Kit

Filter Type (if req’d):	□1” or  □ 2” Alum	□ 2” 30% Pleated	□ 1.5” Dustlok	□ _____________________(other)

16)  Insulation:		□ None		□ 1” Thermafiber	□ 1” Foil Face	□ 1” Double Wall	□ 2” Double Wall

D.W. liner type:	□ 20 Ga. Alzd.	□ 20 Ga. 304SS	□ 20 Ga. 316SS	□ 		(other)

17)  Elec. Options:	□ Dirty Filter SW	□ Time Clock	□ Mild Weather Stat	□ Fused Disconnect SW

□ Smoke Detector:  ____ Powered by AAI   ____ Powered by Others (shipped loose)

□ 120v GFI Outlet:  ____ Powered by AAI   ____ Powered by Others		□ _______ Interlocking Relay(s)

□ Exhaust Fan Starter(s):  Qty: _______   HP: _______ Volts: _______ / Phase: _______ / 60 Hz.

s:\sales\el-hw-st_rfq.doc	rev. 09-21-20