AbsolutAire, Inc. - Indirect Fired - Request for Quote

Today’s Date:  					Quote / Information Required Date:

From:

1)  Project Name:  					2)  Location:  				(city & state)

3)  CFM:  						4)  External (duct) Static Pressure:  		”WC

5)  Temp. Rise: 				°F  - or -  MBH: 		 (input) / 		 (output)

(min: 20°F - max: 100°F)

MBH Calculations:	a.)  CFM  x  Temp. Rise  x  1.08  / 1,000 =  MBH (output)

b.)  MBH (output)  /  0.80  = MBH (input)

Sample Calculation:	a.) 6,050 CFM  x  70°F Temp. Rise  x  1.08  /  1,000  =  457 MBH (output)

b.) 457 MBH (output)  /  0.80  =  571 MBH (input)

Results:  the unit will require a 600 MBH (input) Furnace (model I5-2-300)

6)  Furnace Material:	□ (A) 18 Ga. Aluminized Steel Heat Exchanger, Burner, & Drip Pan

□ (S) 409 Stainless Steel Heat Exchanger & Burner - 18 Ga. Aluminized Drip Pan

□ (T) 409 Stainless Steel Heat Exchanger, Burner, & Drip Pan

7)  Furnace Venting:	□ (P) Power	□ (S) Separated Combustion (indoor models only)

8)  Unit Location:	□ Indoor		□ Outdoor 		9)  Unit Type:	□ Horizontal	□ Upright/Vertical

10)  Air Control:	□ (O) 100% OA	□ (R) 100% RA		□ (F) Fixed OA/RA w/OA Damper (no RA damper)

□ (B) 2-Positon OA/RA w/Dampers via:	□ 2-Pos. Switch		□ Signal by Others

□ (M) Modulating OA/RA w/Dampers via:	□ Manual Pot		□ Building Pressure SW

□ Mixed Air Temp	Control	□ Signal by Others

□ (V) 100% OA Variable Volume via:	□ VFD w/Hi-Low Vol. SW	□ VFD w/Bldg. Press. SW

□ VFD w/0-10vDC or 4-20mA by Others (circle one)

11)  Disch. Direction:	□ End/Horizontal	□ Down/Vertical		□ Up/Vertical	□ Controls Side	□ Opp. Side

12)  Controls Side:	□ Left (std)	□ Right (opposite)	13)  Gas Type:	□ Natural	□ LP/Propane

14)  Temp. Control:	□ (1S) 1-Stage Space TC (1 furnace)	□ (2S) 2-Stage Space TC (2 furnaces)

□ (3D) 3-Stage Discharge TC (3 furnaces)	□ (4D) 4-Stage Discharge TC (2 furnaces)

□ (6D) 6-Stage Discharge TC (3 furnaces)	□ (ED) Electronic Discharge TC

□ (EO) Elec Discharge TC w/Room Override	□ (EX) Elec Disch TC (0-10vdc or 4-20ma by others)

15)  Voltage:		□ 115-1-60	□ 208-1-60	□ 230-1-60	□ 208-3-60	□ 230-3-60

□ 460-3-60	□ 575-3-60	□ Other (specify):

16)  Motor Type:	□ ODP		□ TEFC		3-Ph Only:	□ Domestic	□ Import

17)  Mech. Options:	□ Mot. Inlet Damper	□ Mot. Disch. Damper	□ Roof Curb	□ 3-Way Disch. Head

□ Side Access Filters	□ Filtered Inlet Hood 	□ Inlet Hood	□ 4-Way Disch. Head

Filter Type (if req’d):	□1” or  □ 2” Alum	□ 2” 30% Pleated	□ 1.5” Dustlok	□ _____________________(other-specify)

□ EVN (non-recirc) Evap.	□ EVR (recirc w/sump & pump) Evap. with:

□ CELdek	□ GLASdek	Media Size:	□ 6”  □ 12”  □ 18”	□ F&D Valves/Kit

18)  Insulation:		□ None		□ 1” Thermafiber	□ 1” Foil Face	□ 1” Double Wall	□ 2” Double Wall

19)  Elec. Options:	□ Dirty Filter SW	□ Time Clock	□ Mild Weather Stat	□ Fused Disconnect SW

□ Smoke Detector:  ____ Powered by AAI   ____ Powered by Others (shipped loose)

□ 120v GFI Outlet:  ____ Powered by AAI   ____ Powered by Others

□ _______ Interlocking Relay(s)	□ High Gas Pressure Regulator (for ________ psi inlet)

□ Exhaust Fan Starter(s):  Qty: _______   HP: _______ Volts: _______ / Phase: _______ / 60 Hz

s:\sales\indirect_fired_rfq.doc	rev. 09-21-20