AbsolutAire, Inc. – Spray & Bake - Request for Quote

Today’s Date: ________________	Quote / Information Required Date:

From:

1)  Project Name:  					2)  Location:  				(city & state)

3)  Booth Type:	□ Crossdraft	□ Side Downdraft		□ Pit Downdraft		□ Modified Downdraft

4)  Air Volume: 				CFM		5)  External (duct) Static: 		”WC

6)  Temp. Rise: 				°F  - or -  MBH:

Approx. MBH Calculation:  MBH = CFM × Temp. Rise × 1.14 ÷ 1,000

7)  Series Desired:	□ V		□ AA			□ R300		□ R400		□ I (indirect fired)

8)  Unit Location:	□ Indoor		□ Outdoor 		9)  Unit Type:	□ Horizontal	□ Upright/Vertical

10)  Air Control:	□ (O) 100% OA	□ (R) 100% RA		□ (F) Fixed OA/RA w/OA Damper (no RA damper)

□ (B) 2-Positon OA/RA w/Dampers via:	□ 2-Pos. Switch		□ Signal by Others

□ (M) Modulating OA/RA w/Dampers via:	□ Manual Pot		□ Building Pressure SW

□ Mixed Air Temp	Control	□ Signal by Others

□ (V) 100% OA Variable Volume via:	□ VFD w/Hi-Low Vol. SW	□ VFD w/Bldg. Press. SW

□ VFD w/0-10vDC or 4-20mA by Others (circle one)

□ ____________________________(other-specify)

11)  Disch. Direction:	□ End		□ Down/Bottom		□ Up/Top	□ Controls Side	□ Opp. Side

12)  Controls Side:	□ Left (std)	□ Right (opposite)	13)  Gas Type:	□ Natural	□ LP/Propane

14)  Voltage:		□ 115-1-60	□ 208-1-60	□ 230-1-60	□ 208-3-60	□ 230-3-60

□ 460-3-60	□ 575-3-60	□ Other (specify):

15)  Motor Type:	□ ODP		□ TEFC		3-Ph Only:	□ Domestic	□ Import

16)  Mech. Options:	□ Mot. Inlet Damper	□ Mot. Disch. Damper	□ Serv. Platform	□ 3-Way Disch. Head

□ Side Access Filters	□ Filtered Inlet Hood 	□ Inlet Hood	□ 4-Way Disch. Head

Filter Type (if req’d):	□1” or  □ 2” Alum	□ 2” 30% Pleated	□ 1.5” Dustlok	□ _____________________(other-specify)

□ EVN (non-recirc) Evap.	□ EVR (recirc w/sump & pump) Evap. with:

□ CELdek	□ GLASdek	Media Size:	□ 6”  □ 12”  □ 18”		□ F&D Valves/Kit

17) Insulation:		□ None		□ 1” Thermafiber	□ 1” Foil Face	□ 1” Double Wall	□ 2” Double Wall

D.W. liner type:	□ 20 Ga. Alzd.	□ 20 Ga. 304SS	□ 20 Ga. 316SS	□ 		 (other)

18)  Mounting:		□ Roof Curb (H)	□ OA/RA Base	□ Angle Stand	□ Legs		□ None / By Others

19)  Elec. Options:	□ SB2 Maxitrol 1494 Digital “Heat-Only”		□ SB3 Maxitrol 1494 Dual-Digital “Spray/Bake”

□ Booth Light Switch & Contactor	□ Paint Gun Solenoid (to interlock with bake mode on “B” units)

□ Exhaust Fan Starter(s):  Qty: _______   HP: _______ Volts: _______ / Phase: _______ / 60 Hz.

--------------------------------------------------------------------------------------------------------------------------------------

□ Exhaust Fan VFD(s):  	Qty: _______   HP: _______ Volts: _______ / Phase: _______ / 60 Hz.

VFD to control: 	Qty: _______   HP: _______ Volts: _______ / Phase: _______ / 60 Hz.

□ Magnehelic (manual VFD control)		□ Photohelic (auto-balance VFD control)

--------------------------------------------------------------------------------------------------------------------------------------

s:\sales\sb-rfq.doc	rev. 09-21-20