AbsolutAire, Inc. * Kalamazoo, MI  49004

Ph.: (800) 804-4000 * Fax: (269) 382-5291

Temperature & Humidity Controlled MUA - Request for Quote

Today’s Date: ________________	Quote / Information Required Date:

From:

1)  Project Name:  						2)  Location:  			          (city & state)

3)  Booth Operation:		□ Spray Only (no elevated bake mode required)

□ Spray & Bake (with elevated bake mode) – Bake Temp Required: ______ °F

4)  Booth Requirements:	□ Spray Temperature Controlled to ______ °F with a +/- range of ______ °F

□ ** Spray Humidity Controlled to ______ % RH with a +/- range of ______ % RH

** PLEASE NOTE:  humidity control parameters are (usually) adhered to ONLY in the “spray mode”.  In the bake mode, elevating the heat typically reduces the humidity significantly – therefore, if humidity control is required, this 7could require additional components (i.e.: evap media, etc) to re-introduce moisture/humidity.  Please indicate if the above (same) humidity requirements are required during the “bake mode” also:	□ Yes	□ No

5)  Configuration:	□ 100% OA (O)

□ 80/20 OA/RA (B) (100% OA spray & 80% RA / 20% OA bake)

□ 100% OA (V) (100% vol. in spray & 50% vol. in bake via supply VFD)

□ 100% OA (V2) (100% vol. in spray & 50% vol. in bake via profile & disch “choke-off” dampers)

6)  Unit Location:	□ Indoor		□ Outdoor 	7)  Unit Type:	□ Horizontal	□ Upright/Vertical

8)  Disch. Location: 	□ End		□ Down		□ Up/Vertical	□ Controls Side	□ Opposite Side

9)  Gas Type:		□ Natural	□ Propane

10)  Voltage:		□ 115-1-60	□ 208-1-60	□ 230-1-60	□ 208-3-60	□ 230-3-60

□ 460-3-60	□ 575-3-60	□ Other (specify):

11)  Motor Type:	□ ODP		□ TEFC		3-Ph Only:	□ Domestic	□ Import

12)  Insurance:		□ STD	□ FM	□ IRI		13)  Temp. Rise:	______________	° F

14)  CFM:	_____________________	CFM		15)  External Static:	______________	“ WC

16)  Motorized Inlet Damper:	□ Yes	□ No		17)  Motorized Discharge Damper:	□ Yes	□ No

18)  Unit Options:	□ Side Access Filter (H or U)	□ Filtered Inlet Hood (H)	□ Inlet Hood (H)

Filters (if req’d):	□1” Aluminum	□ 2” Aluminum	□ 2” 30% Pleated/Disp.	□ 1.5” Dustlok	□ ______(other)

□ EVN (non-recirc) Evap.		□ EVR (recirc w/sump & pump) Evap. with:

□ CELdek	□ GLASdek	Media:	□ 6”  □ 12”  □ 18” 		□ F&D Valves/Kit

19)  Insulation:		□ Unit Only	□ Unit & Filter Section			□ None

20)  Mounting:		□ Roof Curb (H)	□ OA/RA Base	□ Angle Stand	□ Legs	□ None / by others

21)  Elec. Options:	□ Exhaust Fan VFD - Voltage ______   Phase______   HP ______ (to control ______ Exh Fans)

□ Magnehelic w/Speed Pot	□ Photohelic Auto-Bal.	□ Booth Light Switch & Contactor

s:\sales\temp_humidity_rfq.doc	rev. 09-21-20